## Slide 1: (Shotgun) sequencing
Titus Brown

## Slide 2: Three basic problems
Resequencing, counting, and assembly.

## Slide 3: 1. Resequencing analysis
We know a reference genome, and want to find variants (blue) in a background of errors (red)

## Slide 4: 2. Counting
We have a reference genome (or gene set) and want to know how much we have. Think gene expression/microarrays.

## Slide 5: 3. Assembly
We don’t have a genome or any reference, and we want to construct one.
(This is how all new genomes are sequenced.)

## Slide 7: Outline
Shotgun sequencing
The magic of polonies, and how Illumina sequencing works
Sequencing depth, read length, and coverage
Paired-end sequencing and insert sizes
Coverage bias
Long reads: PacBio and Nanopore sequencing

## Slide 8: Shotgun sequencing
It was the best of times, it was the worst of times, it was the age of wisdom, it was the age of foolishness
It was the best of times, it was the wor
, it was the worst of times, it was the
isdom, it was the age of foolishness
mes, it was the age of wisdom, it was th

## Slide 10: Two specific concepts:
First, sequencing everything at random is very much easier than sequencing a specific gene region. (For example, it will soon be easier and cheaper to shotgun-sequence all of E. coli then it is to get a single good plasmid sequence.)
Second, if you are sequencing on a 2-D substrate (wells, or surfaces, or whatnot) then any increase in density (smaller wells, or better imaging) leads to a squared increase in the number of sequences yielded.

## Slide 11: Random sampling => deep sampling needed
Typically 10-100x needed for robust recovery (300 Gbp for human)

## Slide 12: “Coverage”
“Coverage” is simply the average number of reads that overlap
each true base in genome.
Here, the coverage is ~10 – just draw a line straight down from the top through all of the reads.

## Slide 13: Illumina yields the deepest sequencing available
MiSeq
  30 million reads per run
  300 base paired-end reads
HiSeq 2500 RR/X 10
  6 billion reads per run
  150 base paired-end reads
PacBio
  44,000 reads per run
  8500 bp in length
http://flxlexblog.wordpress.com/2014/06/11/developments-in-next-generation-sequencing-june-2014-edition/

## Slide 14: Illumina basics
http://ted.bti.cornell.edu/cgi-bin/epigenome/method-1.cgi
(See http://seqanswers.com/forums/showthread.php?t=21 for details)

## Slide 15: A movie of Illumina sequencing:
https://www.youtube.com/watch?v=tuD-ST5B3QA#t=61

## Slide 16: FASTQ
@895:1:1:1246:14654/1
CAGGCGCCCACCACCGTGCCCTCCAACCTGATGGT
+
][aaX__aa[`ZUZ[NONNFNNNNNO_____^RQ_
@895:1:1:1246:14654/2
ACTGGGCGTAGACGGTGTCCTCATCGGCACCAGC
+
\UJUWSSV[JQQWNP]]SZ]ZWU^]ZX][^TXR`
@895:1:1:1252:19493/1
CCGGCGTGGTTGGTGAGGTCACTGAGCTTCATGTC
+
OOOKONNNNN__`R]O[TGTRSY[IUZ]]]__X__

## Slide 17: Read length and reconstructability
Whiteford et al., Nuc. Acid Res, 2005

## Slide 18: “Reconstructability”
Assembling new genomes or transcriptomes…
Haplotyping - think human genetics & viruses, both.

## Slide 19: Repeats! (and shared exons)

## Slide 20: Longer reads … OR … Paired-end/mate pair sequencing

## Slide 21: Paired-end sequencing
http://vallandingham.me/RNA_seq_differential_expression.html

## Slide 23
Mate-pair sequencing
(long insert)

## Slide 24: Longer reads
PacBio
Moleculo
Nanopore

## Slide 25
http://www.melanieswan.com/FOLS.html

## Slide 26: Moleculo (Illumina)
http://nextgenseek.com/2013/07/illumina-announces-moleculo-long-read-technology-and-phasing-as-service/

## Slide 27
http://labs.mcb.harvard.edu/branton/projects-NanoporeSequencing.htm

## Slide 28: Actual yields
MiSeq
  30 million reads per run
  300 base paired-end reads
HiSeq 2500 RR/X 10
  6 billion reads per run
  150 base paired-end reads
PacBio
  44,000 reads per run
  8500 bp in length
http://flxlexblog.wordpress.com/2014/06/11/developments-in-next-generation-sequencing-june-2014-edition/

## Slide 30: Your basic data (FASTQ)
@895:1:1:1246:14654/1
CAGGCGCCCACCACCGTGCCCTCCAACCTGATGGT
+
][aaX__aa[`ZUZ[NONNFNNNNNO_____^RQ_
@895:1:1:1246:14654/2
ACTGGGCGTAGACGGTGTCCTCATCGGCACCAGC
+
\UJUWSSV[JQQWNP]]SZ]ZWU^]ZX][^TXR`
@895:1:1:1252:19493/1
CCGGCGTGGTTGGTGAGGTCACTGAGCTTCATGTC
+
OOOKONNNNN__`R]O[TGTRSY[IUZ]]]__X__

## Slide 31: Mapping
Many fast & efficient computational solutions exist.
You have to figure out how to choose parameters to maximize sensitivity/specificity, and when to validate.
U. Colorado
http://genomics-course.jasondk.org/?p=395

## Slide 32: Assembly
Reassemble random fragments computationally.
UMD assembly primer (cbcb.umd.edu)

## Slide 33: Shotgun sequencing
It was the best of times, it was the wor
, it was the worst of times, it was the
isdom, it was the age of foolishness
mes, it was the age of wisdom, it was th
It was the best of times, it was the worst of times, it was the age of wisdom, it was the age of foolishness

## Slide 34: Where does # of reads count?
Resequencing, counting, and assembly.

## Slide 35: Where does reconstructability matter?
Resequencing, counting, and assembly.

## Slide 36: Summary
Coverage matters for SNP calls and assembly;
# of reads matters for counting;
Length of reads matters for reconstructability (assembly & haplotyping);
Illumina is still “best” for high coverage;
PacBio and Moleculo => genome assembly;
Nanopore: still tricky but lots of progress being made.

## Slide 37: Bad data
I asked:
https://twitter.com/ctitusbrown/status/624721875252420608
I received:
http://www.bioinfo-core.org/index.php/Interesting_NGS_failures
http://bioinfo-core.org/index.php/9th_Discussion-28_October_2010
https://biomickwatson.wordpress.com/2013/01/21/ten-things-to-consider-when-choosing-an-ngs-supplier/

## Slide 38: Sequencing Bloopers
Simon Andrews
Tim Stevens
I asked:
https://twitter.com/ctitusbrown/status/624721875252420608
I received:
http://www.bioinfo-core.org/index.php/Interesting_NGS_failures

## Slide 39: Technical sequencer problems

## Slide 40: Manifold burst in cycle 26

## Slide 41: Specific cycles lost

## Slide 42: No priming /signal (Wrong adapters used)
Read 1
Read 2
(barcode)

## Slide 43: Tile Problems - Overclustering

## Slide 44: Tile Problems – Consistent tile fail

## Slide 45: Tile problems – transient tile fail

## Slide 46: Incorrect Phred Scores
Found LOTS of examples of this in the SRA
“the NCBI SRA makes all its data available as standard Sanger FASTQ files
(even if originally from a Solexa/Illumina machine)”
Nucleic Acids Res. 2010 Apr; 38(6): 1767–1771.
SRR619473
Phred33 (Sanger)
Phred64 (Illumina)

## Slide 47: Data Extraction

## Slide 48: Wrong barcode annotation
Expected barcode
Not expected barcode

## Slide 49: Contaminated Barcode Stocks
Expected barcode
Not expected barcode

## Slide 50: Odd sequence composition

## Slide 51: Read through adapter

## Slide 52
Adapter dimer overload
Sequence | % | Possible Source
CCTAAGGAGATCGGAAGAGCGTCGTGTAGGGAAAGAGTGTAGATCTCGGTGGTCGCCGTATCATTAAAAAAAAAA | 9.42 | Illumina Single End PCR Primer 1
TCAATGAAGATCGGAAGAGCGTCGTGTAGGGAAAGAGTGTAGATCTCGGTGGTCGCCGTATCATTAAAAAAAAAA | 7.30 | Illumina Single End PCR Primer 1
GAGACTCAGATCGGAAGAGCGTCGTGTAGGGAAAGAGTGTAGATCTCGGTGGTCGCCGTATCATTAAAAAAAAAA | 5.65 | Illumina Single End PCR Primer 1
gi|372098977|ref|NT_039624.8| Mus musculus chr16 GRCm38
CTGGAAGGGAGAAAAGTCCAAACATTCTGGCTCTAACTTCT
||||||||||||||||||||||||||||||||| || ||||
CTGGAAGGGAGAAAAGTCCAAACATTCTGGCTCCAAGTTCT
gi|372098992|ref|NT_039500.8| Mus musculus chr10 GRCm38
CTTTCTCTATCTGAATTATAAACAAAAGCACACAGGCCCGCTTACATTTACATGATAAAATGTGCACTTTG
|||||||||| || |||||||||||||||||||||||||||||||| ||||||||||||||| | ||||
CTTTCTCTATATGCATTATAAACAAAAGCACACAGGCCCGCTTACAGGGACATGATAAAATGTGAAATTTG
(Single-cell Hi-C)

## Slide 53: Positional Sequence Bias Application Specific – BS-Seq

## Slide 54: Positional Sequence Biases Expected - RRBS
Also reports of a ‘Chinese CRO’ whose RRBS libraries have the MspI sites missing due to
their proprietary and unexplained pre-processing

## Slide 55: Positional Sequence Biases Unavoidable – RNA-Seq

## Slide 56: Positional Sequence Biases Unexpected – Doubled Adapters

## Slide 57: Overrepresented Individual Sequences
Adapter dimers
rRNA
Satellite sequences

## Slide 58: My data doesn’t map well…

## Slide 59: Contaminated with guessable sequence
www.bioinformatics.babraham.ac.uk/projects/fastq_screen

## Slide 60: Contaminated with guessable sequence
CRUK Multi-genome alignment system (MGA)

## Slide 61: Contamination with unguessable sequence
>AF431889 AF431889.1 Acinetobacter lwoffii type IIs modification
Query: 1 cggtgagcaggcattagaaattgattttttagaaggtgtgttgaagaaactgggccgctt 60
|||||||||||||||||||||||||||||||||||||||||||||||||||||| |||||
Sbjct: 4661 cggtgagcaggcattagaaattgattttttagaaggtgtgttgaagaaactgggtcgctt 4720
>GQ352402 GQ352402.1 Acinetobacter baumannii strain AbSK-17 plasmid
Query: 1 ggtgagcagtggtttacatggttaattgaacaagacatcaacttctgcattcgtg 55
|||||||||||||||||||||||||||||||||||||||||||||||||||||||
Sbjct: 8213 ggtgagcagtggtttacatggttaattgaacaagacatcaacttctgcattcgtg 8159
>AF431889 AF431889.1 Acinetobacter lwoffii type IIs modification
Query: 1 acttgctgcgattaaagcagaaaaaacacttgctgaattgagtgct 46
||||||||||||||||||||||||||||||||||||||||||||||
Sbjct: 4484 acttgctgcgattaaagcagaaaaaacacttgctgaattgagtgct 4529

## Slide 62: TAGC Plots
https://github.com/blaxterlab/blobology
Assemble
Filter contigs
Plot %GC vs Coverage
Sample and blast

## Slide 63: Reagent contamination
Molbio grade water is not the same as DNA free water – heat treated but DNA survives

## Slide 64: Later this week --

## Slide 65: Reference & quality-score independent approaches (k-mers)

## Slide 66: …from a well known data set…